## Slide 1: Solar Resource & Solar Technologies UCC501 – Part 1
Dr. Nicolas CALVET
Assistant Professor
Thermal Energy Storage (TES) Group Leader
iEnergy Center
Department of Mechanical and Materials Engineering (MME)

## Slide 2: Solar Resource
Solar Resource
Dr. Nicolas CALVET

## Slide 3
Solar Resource
Beam-solar radiation
Or Direct radiation
Diffuse solar radiation
Reflected solar radiation
Dr. Nicolas CALVET
Pyrheliometer
Pyranometer
Shaded Pyranometer
Available Solar Radiation

## Slide 4
Solar Resource
Solar radiation on a clear day
Dr. Nicolas CALVET
Solar radiation on a cloudy day
Measured in south of France

## Slide 5
Solar Resource
Dr. Nicolas CALVET
Solar Irradiometer Platform (SIP)
Source: Dr. Peter Armstrong

## Slide 6
Dr. Nicolas CALVET
Solar Resource

## Slide 7
Solar Resource
Dr. Nicolas CALVET
In U.A.E.: 1950 – 2400 KWh/m2y

## Slide 8
Solar Resource
Dr. Nicolas CALVET
http://solaratlas.masdar.ac.ae/

## Slide 9
Source: Franz Trieb, DLR, SolarPaces 2009, Berlin Germany
Solar Resource
Dr. Nicolas CALVET

## Slide 10
Source: Franz Trieb, DLR, SolarPaces 2009, Berlin Germany
Solar Resource
Dr. Nicolas CALVET

## Slide 11
Dr. Nicolas CALVET
Solar Resource
Source: Dr. O. Goebel

## Slide 12
Dr. Nicolas CALVET
Solar Power Potential in Abu Dhabi
Source: Dr. O. Goebel
Solar Resource

## Slide 13: Solar Technologies
Solar Technologies
Dr. Nicolas CALVET

## Slide 14
1. Non-Concentrated Solar Technologies | 2. Concentrated Solar Technologies
1.1. Photovoltaic 1.2. Solar Thermal | 2.1. Concentrated Photovoltaic (CPV) 2.2. Concentrated Solar Power (CSP)
T (°C)
Ambient T
200 3000
Solar Technologies
Dr. Nicolas CALVET

## Slide 15: Non-Concentrated Technologies
Solar Technologies
Dr. Nicolas CALVET

## Slide 16: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic (PV)
Solar Technologies
Dr. Nicolas CALVET
PV effect: Alexandre Edmund Becquerel in 1839
PV cell: Bells Labs in 1954
Valence band
Conduction band
Si atom
4e- in the valence band
Covalent bond
Si crystal
Energy

## Slide 17: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic (PV)
Solar Technologies
Dr. Nicolas CALVET
PV effect: Alexandre Edmund Becquerel in 1839
PV cell: Bells Labs in 1954
Valence band
Conduction band
Energy
Valence band
Conduction band

## Slide 18: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic (PV)
Solar Technologies
Dr. Nicolas CALVET
Si crystal
Doping with impurities
N - Type
P - Type
Phosphorus
Bore

## Slide 19: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic (PV)
Solar Technologies
Dr. Nicolas CALVET
N - Type
P - Type
P-N Junction
-
+

## Slide 20: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic (PV)
Solar Technologies
Dr. Nicolas CALVET
Valence band
Conduction band
Energy
Valence band
Conduction band
+
-
Electric field
More details? watch this video on You Tube “The Power of the Sun - The Science of the Silicon Solar Cell”: http://www.youtube.com/watch?v=u0hckM8TKY0

## Slide 21
1. Non-concentrated Solar Technologies
Monocrystalline
Polycrystalline
1.1. Photovoltaic (PV) – Solar Cells & Solar panels
Dr. Nicolas CALVET
Thin film
Solar tiles

## Slide 22: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic in the world
Solar Technologies
Dr. Nicolas CALVET

## Slide 23: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic in the world
Solar Technologies
Dr. Nicolas CALVET
30 % of all electricity demand

## Slide 24: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic in the world
Solar Technologies
Dr. Nicolas CALVET
Source: Web
MWe
1. Germany (32.2 GW); 2. Italy (16.2 GW); 3. USA (7.5 GW); 4. China (7 GW); 5. Japan (6.9 GW)

## Slide 25: 1. Non-concentrated Solar Technologies
1.1. Photovoltaic in the world - Levelized Cost Of Energy (LCOE) =
Solar Technologies
Dr. Nicolas CALVET
investment + Fuel + O&M costs
Net electric output

## Slide 26: 1. Non-concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET
1.1. Photovoltaic in the world – Cell Efficiency
World Record
2013
Fraunhofer ISE
CEA Leti
Soitec
Helmotz Centre
44.7 %!!!

## Slide 27: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.1. Solar Domestic Hot Water (SDHW) Systems: Flat Panels
Solar Technologies
Dr. Nicolas CALVET

## Slide 28: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.1. Solar Domestic Hot Water (SDHW) Systems: Flat Panels
Solar Technologies
Dr. Nicolas CALVET
Or electric resistance
glass
Hot water
Cold water
Insulation

## Slide 29: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.2. SDHW Systems: Thermosiphon System
Solar Technologies
Thermosiphons in Seville
PROMES laboratory´s prototypes
Dr. Nicolas CALVET

## Slide 30
Solar Technologies
1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.2. SDHW Systems: Thermosiphon System
Dr. Nicolas CALVET
ΔT = 10 K

## Slide 31: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.3. SDHW Systems: Evacuated Tube Collectors
Solar Technologies
Dr. Nicolas CALVET

## Slide 32: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.3. Solar Air Panels
Solar Technologies
Dr. Nicolas CALVET
ΔT=20 K
Source: Dr. Régis Olivès

## Slide 33: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.4. Trombe Wall
Solar Technologies
Dr. Nicolas CALVET
Felix Trombe (1906 – 1985)

## Slide 34
Solar Technologies
1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.5. Solar Chimney
Dr. Nicolas CALVET
Source: Dr. O. Goebel

## Slide 35
Solar Technologies
1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.5. Solar Chimney
Dr. Nicolas CALVET

## Slide 36: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.6. Solar Cooling - Adsorption
Solar Technologies
Dr. Nicolas CALVET

## Slide 37: 1. Non-concentrated Solar Technologies
1.1. Solar Thermal
1.1.6. Solar Cooling - Absorption
Solar Technologies
Dr. Nicolas CALVET

## Slide 38: Concentrated Technologies
Solar Technologies
Dr. Nicolas CALVET

## Slide 39
Solar Technologies
2. Concentrated Solar Technologies
Dr. Nicolas CALVET
2.0. Concentrated Photovoltaic (CPV)
Advantages | Drawbacks
High efficiency | Use only direct radiation
Smaller area for same courant | Heat dissipation necessary
 | Cost of concentration
 | Cost of tracking
Source: Dr. Alain Dollet

## Slide 40
Parabolic trough
Linear Fresnel Reflector
Power tower
Parabolic Dish/Stirling
50 < C < 90
200 °C < T < 500 °C
600 < C < 1000
200 °C < T < 1000 °C
Dr. Nicolas CALVET
C < 3000
500 °C < T < 1500 °C
25 < C < 50
200 °C < T < 500 °C
Solar Technologies
2. Concentrated Solar Technologies
2.1. Concentrated Solar Power (CSP)
Notes: INDICE DE CADA APARTADO

## Slide 41
SEGS plants, Mojave desert, USA, 354 MWel
Most matured technology
50 to 100 MW (per unit)
2.1. Parabolic Trough
2. Concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET

## Slide 42
Dr. Nicolas CALVET
Source: Dr. O. Goebel
Solar Technologies
2. Concentrated Solar Technologies
2.1. Parabolic Trough – Shams 1

## Slide 43
Dr. Nicolas CALVET
Shams 1, 100 MWe,
Abu Dhabi
2.5 km2 = 285 football fields
20,000 homes,
175,000 tons of CO2
Solar Technologies
2. Concentrated Solar Technologies
2.1. Parabolic Trough – Shams 1

## Slide 44
Dr. Nicolas CALVET
Source: Dr. O. Goebel
Solar Technologies
2. Concentrated Solar Technologies
2.1. Parabolic Trough – Shams 1

## Slide 45
Dr. Nicolas CALVET
Solar Technologies
2. Concentrated Solar Technologies
2.1. Parabolic Trough – New concept from Airlight Energy
Source: Guglielmo Cioni
HTF: air (570 C)

## Slide 46
Recent technology 10 to 30 MW (per unit)
2.2. Linear Fresnel Reflector (LFR)
2. Concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET
Puerto Errado 2 (PE2), Murcia, Spain, 2012, 30 MWel

## Slide 47
2.2. Linear Fresnel Reflector (LFR)
2. Concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET

## Slide 48
THEMIS, Targasone, France
(2.5 MWe, 1983 – 1986)
Central receiver
Heliostats
1.5 to 20 MW (per unit)
Dr. Nicolas CALVET
2. Concentrated Solar Technologies
2.3. Power Tower (or Central Receiver) - Molten salt receiver
SOLAR 2, Mojave desert, CA, USA
(12.4 MWe,1995-1999)

## Slide 49
2.3. Power Tower (or Central Receiver) - Molten salt receiver
2. Concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET
GEMASOLAR, Seville Spain 2011 - now
First commercial Power Tower
19.9 MW, 15 h TES
25,000 homes
Source: Juan Ignacio Burgaleta
(director of Sener)

## Slide 50
2.3. Power Tower (or Central Receiver) – Volumetric-air receiver
2. Concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET
Jüllich Power Tower, Germany (2008)
1.5 MW
HTF: Air (120 - 680 C)
(in 2011)

## Slide 51
2.3. Power Tower (or Central Receiver) – Direct Steam Generation (DSG)
2. Concentrated Solar Technologies
Solar Technologies
Dr. Nicolas CALVET
PS10 & PS20, Seville, Spain, 11 & 20 MWe
HTF: Water

## Slide 52
PROMES-CNRS, Odeillo, France, 10 kWel
Low power (<400 kW per unit)
Dr. Nicolas CALVET
2. Concentrated Solar Technologies
2.3. Parabolic Dish Stirling
Solar Technologies

## Slide 53: 2. Concentrated Solar Technologies
Solar Technologies
2.2. Double Reflection Systems – 1 MW Solar Furnace
Odeillo, France
Dr. Nicolas CALVET

## Slide 54
Solar Technologies
Pyrometer
Solar flux (W/m²)
Temperature controller
Carbon blades
Tsurface

## Slide 55: 2. Concentrated Solar Technologies
Solar Technologies
2.2. Double Reflection Systems
Dr. Nicolas CALVET
Tests of fatigue
Under repeated thermal stress
500 – 1000°C - under atm air
1000 – 2500°C/min
Cofalit® ceramic sample
(L = 200 mm, D= 25 mm)

## Slide 56: 2. Concentrated Solar Technologies
Solar Technologies
2.2. Double Reflection Systems – Beam down
Dr. Nicolas CALVET
100 kWth

## Slide 57: Thank You
Version 1
Dr. Nicolas CALVET
ncalvet@masdar.ac.ae